Formularbeginn Technical Questionnaire for HAAGE-High-Pressure Autoclaves Please sent us a quotation on the following autoclaves: 1. Autoclave 1.1 volume (L) 0,15 0,3 0,6 1,0 other volume: L 2,0 3,5 5,5 7,5 1.2 exchangeable vessels for 1 L: 0,6 L 0,3 L 0,15 L for 2 L: 1,0 L for 7,5 L: 5,5 L 3,5 L 1.3 inside polish of the autoclave vessel 1.4 material of all wetted parts material of all parts coming into contact with the liquid medium stainless steel hastelloy C-276 hastelloy B-3 titanium tantalum inconel incoloy other material: 1.5 max. permissible pressure / temperature 350 bar / 350° C 250 bar / 250° C other: bar / ° C 200 bar / 350° C 140 bar / 500° C 1.6 frame mountings bench top frame floor stand frame autoclave lift manual autoclave lift electrical 2. Heating 2.1 electrical heating 2.2 heating- / cooling jacket for connection to an oil heating system, etc. 2.3 heat transfer unit, consists of oil heating system with cascade control and installed heat exchanger for cooling 3. Stirrer Systems 3.1 glandless rotary stirrer with magnetic coupling, with digital stirrer speed indication (max. 2000 rpm - for autoclaves max. 1000 bar or max. 650° C) 3.2 stirrer with direct driven stirrer shaft and self-sealing system, with digital speed indication (max. 200 bar, 350° C, max. 200 rpm) stirrer with stuffing box stirrer with glidering system 3.3 motor not ex-protected, with remote adjustment ex-protected, with frequency adjustment 3.4 torque-measurement system for stirrer with digital indication 3.5 valve for connection of inertisation-gas 3.6 stirring task mixing suspending homogenizing gasing dispersing other: 3.7 highest viscosity of the liquid 3.8 stirrer-element (exchangeable) mixing gyro turbine stirrer anchor stirrer propeller stirrer disc paddle 3.9 catalyst basket (exchangeable against the stirrer element) 3.10 catalyst basket (static design) 4. Standard Accessoiries - gasinlet- /outlet valve - pressure gauge - thermometer tube for measurement of the inside temperature by thermocouple - connection in the autoclave-wall for a second thermocouple measuring the temperature of the autoclave wall - rupture disc device inclusive spare disc, with type licence - central connection for a stirrer (if ordered without stirrer closed by a blind plug) 5. Optional Accessories 5.1 second valve for gas inlet with dip tube 5.2 cooling coil inside the autoclave vessel 5.3 safety valve instead of rupture disc device (Pos. 4.6), with type licence 5.4 non-return valve for gas inlet (installed in front of the gas inlet valve) 5.5 refux condenser for gas-sampling during the reaction 5.6 pressure cooler with dip tube for liquide sampling during the reaction 5.7 filter element (Fritte) for the dip tube (of Pos. 5.5) pore size: 5-10 µm 11-25 µm 50-75 µm 75-100 µm 5.8 bottom draine valve with exchangeable stern-tip and valve-seat 6. Measuring & Controlling 6.1 electrical control box M&C package 1 for data indication and temperature control M&C package 2 plus PC-System for data collection and temperature programming M&C package 3 plus PC-System for visualisation and process control 6.2 Options: 6.2.1 digital indication of the actual operation pressure inside the autoclave 6.2.2 digital indication of the actual torque of the stirrer motor 6.2.3 remote control for internal cooling coll 6.2.4 remote control for gas inlet valve 6.2.5 remote control for gas outlet valve 6.2.6 ”Emergency-Off”-button for fast cut-off of the electrical heating 6.2.7 autonomous safety temperature limiting system with separate thermocouple 7. Components for continuous-flow operation 7.1 high-pressure compressor for gas-feeding compressor capacity: N L/h kind of gas(es): 7.2 high-pressure dosing pump for liquid feeling pump capacity: L/h 7.3 pre-heater for gas-feeding 7.4 pre-heater for liquid-feeding 7.5 cooler for product-outlet behind the autoclave 7.6 seperator for gas- and liquid phase of the final product 7.7 storage- and receiving vessels (please specify: quantity, volume, operation pressure, accessories such as stirrer, heating, level-measurement) 7.8 pressure-controller for gas-feeding to realize pressure-constant continious-flow operation for kind of gas(es): 7.9 mass-flow measurement of the actual and total consumption of the reaction-gas for kind of gas(es): 8. Application / Remarks name dept. company country postcode town e-mail* fax phone homepage Formularende