Formularbeginn Technical Questionnaire for HAAGE-High-Pressure Autoclaves. Please sent us a quotation on the following autoclaves:. 1. Autoclave. 1.1 volume (L); 0,15; 0,3; 0,6; 1,0; other volume: L. 2,0; 3,5; 5,5; 7,5. 1.2 exchangeable vessels; for 1 L: 0,6 L 0,3 L 0,15 L; for 2 L: 1,0 L; for 7,5 L: 5,5 L 3,5 L. 1.3 inside polish; of the autoclave vessel. 1.4 material of all wetted parts material of all parts coming into contact with the liquid medium; stainless steel; hastelloy C-276; hastelloy B-3; titanium. tantalum; inconel; incoloy; other material:. 1.5 max. permissible pressure / temperature; 350 bar / 350° C; 250 bar / 250° C; other: bar / ° C. 200 bar / 350° C; 140 bar / 500° C. 1.6 frame mountings; bench top frame; floor stand frame; autoclave lift manual; autoclave lift electrical. 2. Heating. 2.1; electrical heating. 2.2; heating- / cooling jacket for connection to an oil heating system, etc.. 2.3; heat transfer unit, consists of oil heating system with cascade control and installed heat exchanger for cooling. 3. Stirrer Systems. 3.1; glandless rotary stirrer with magnetic coupling, with digital stirrer speed indication (max. 2000 rpm - for autoclaves max. 1000 bar or max. 650° C). 3.2; stirrer with direct driven stirrer shaft and self-sealing system, with digital speed indication (max. 200 bar, 350° C, max. 200 rpm). stirrer with stuffing box; stirrer with glidering system. 3.3 motor; not ex-protected, with remote adjustment. ex-protected, with frequency adjustment. 3.4; torque-measurement system for stirrer with digital indication. 3.5; valve for connection of inertisation-gas. 3.6 stirring task; mixing; suspending; homogenizing. gasing; dispersing; other:. 3.7; highest viscosity of the liquid. 3.8 stirrer-element (exchangeable); mixing gyro; turbine stirrer; anchor stirrer. propeller stirrer; disc paddle. 3.9; catalyst basket (exchangeable against the stirrer element). 3.10; catalyst basket (static design). 4. Standard Accessoiries. - gasinlet- /outlet valve - pressure gauge - thermometer tube for measurement of the inside temperature by thermocouple - connection in the autoclave-wall for a second thermocouple measuring the temperature of the autoclave wall - rupture disc device inclusive spare disc, with type licence - central connection for a stirrer (if ordered without stirrer closed by a blind plug). 5. Optional Accessories. 5.1; second valve for gas inlet with dip tube. 5.2; cooling coil inside the autoclave vessel. 5.3; safety valve instead of rupture disc device (Pos. 4.6), with type licence. 5.4; non-return valve for gas inlet (installed in front of the gas inlet valve). 5.5; refux condenser for gas-sampling during the reaction. 5.6; pressure cooler with dip tube for liquide sampling during the reaction. 5.7; filter element (Fritte) for the dip tube (of Pos. 5.5). pore size:; 5-10 µm; 11-25 µm; 50-75 µm; 75-100 µm. 5.8; bottom draine valve with exchangeable stern-tip and valve-seat. 6. Measuring & Controlling. 6.1 electrical control box; M&C package 1 for data indication and temperature control; M&C package 2 plus PC-System for data collection and temperature programming; M&C package 3 plus PC-System for visualisation and process control. 6.2 Options:. 6.2.1; digital indication of the actual operation pressure inside the autoclave. 6.2.2; digital indication of the actual torque of the stirrer motor. 6.2.3; remote control for internal cooling coll. 6.2.4; remote control for gas inlet valve. 6.2.5; remote control for gas outlet valve. 6.2.6; ”Emergency-Off”-button for fast cut-off of the electrical heating. 6.2.7; autonomous safety temperature limiting system with separate thermocouple. 7. Components for continuous-flow operation. 7.1; high-pressure compressor for gas-feeding. compressor capacity: N L/h; kind of gas(es):. 7.2; high-pressure dosing pump for liquid feeling. pump capacity: L/h. 7.3; pre-heater for gas-feeding. 7.4; pre-heater for liquid-feeding. 7.5; cooler for product-outlet behind the autoclave. 7.6; seperator for gas- and liquid phase of the final product. 7.7; storage- and receiving vessels (please specify: quantity, volume, operation pressure, accessories such as stirrer, heating, level-measurement). 7.8; pressure-controller for gas-feeding to realize pressure-constant continious-flow operation. for kind of gas(es):. 7.9; mass-flow measurement of the actual and total consumption of the reaction-gas. for kind of gas(es):. 8. Application / Remarks. name; dept.. company; country. postcode; town. e-mail*; fax. phone; homepage. Formularende.